## Sheet1
Corrigendum of Motia Khan Grid S/S
S. No | Specification Number | Head | Clause Number | Page Number | Corrigendum Points
1 | SP-SWGIS-124-R1 | Illumination and lighting system | 3.2.28 | Page 6 of 13 | Illumination and Lighting of Building is not in bidder's scope. Although lighting of outdoor equipment supplied by bidder shall be in bidder's scope.
2 | SP-SWGIS-124-R1 | Exhaust and Ventilation system | 3.2.29 | Page 6 of 13 | Exhaust and vetillation shall not be in bidder's scope.
3 | SP-SWGIS-124-R1 | Conduits | 3.2.31 | Page 7 of 13 | Conduits for building lighting, exhaust and ventillation is not in bidder's scope.Other than these works, conduits shall be in bidder's scope.
4 | SP-SWGIS-124-R1 | Air Conditioning | 3.2.43 | Page 7 of 13 | 2 Nos AC (1.5 Ton 5 Star) for RTU room is in bidder's scope.
5 | SP-SWGIS-124-R1 | Dismantling of Old items mentioned and shifting/disposing as per Site Engineer | 3.3.7 | Page 8 of 13 | Dismantling of complete foundation is not in bidder's scope. Bidder has to dismantle foundation uptill FGL.
6 | NA | Retrofitting of differential relay at remote end | NA | NA | Retrofitting of differential relay at remote end shall be in bidder's scope
7 | NA | Cable Laying and termination outside Substation | NA | NA | Cable termination if required just outside substation shall be in bidder's scope. Although Road cutting and road restoration shall not be in bidder's scope.Permission for the same shall not be in bidder's scope.
8 | NA | Fencing Around 2 Power Transformer | NA | NA | Fencing Around 2 Power Transformer shall be carried out by bidder. Fencing shall be carried out in front , rear, Top and rear side of Power Transformer. One fencing shall be carried out around new Power Transformer and another shall be carried out around one old power transformer.